## Data
Name | Gppd Idnr | Capacity Mw | Latitude | Longitude | Primary Fuel | Other Fuels | Commissioning Year | Owner | Source | Url | Geolocation Source | Year Of Capacity Data | Generation Gwh | Estimated Generation Gwh | Generation Data Source
Centrale Thermique de Jorf Lasfar (JLEC) | WRI1023682 | 2020 | 33.1041 | -8.6378 | Coal |  | 1994 | Unit 1 and 2: Office National de l’Electricité (ONE); Unit 3 and 4: Abu Dhabi National Energy (TAQA) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | WRI |  |  | 2017: 13710.21
Al Wahda Thermal Power station | WRI1061195 | 800 | 34.8 | -5.6 | Gas |  | 2010 | Office National de l\'Electricite (ONE) | African Development Bank Group | http://powerafrica.opendataforafrica.org/ | KTH |  |  | 2017: 4671.13
Jerada power station | WRI1023681 | 515 | 34.3098 | -2.1902 | Coal |  | 2002 | Office National de Electricite (ONE) Sepco III | GCPT | https://endcoal.org/global-coal-plant-tracker/ | WRI |  |  | 2017: 3495.42
Ain Beni Mathar Centrale Thermosolaire (CCGT) | WRI1023670 | 472 | 34.0705 | -2.1049 | Gas | Solar | 2009 | Office National de l\'Electricite (ONE) African Development Bank | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 2755.96
STEP UR1 * | WRI1023710 | 464 | 32.2065 | -6.531 | Hydro |  | 2005 |  | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 1326.91; 2014: 673.45; 2015: 739.61; 2016: 675.3; 2017: 673.45
Centrale a cycle combine de Tahaddart | WRI1023677 | 394 | 35.589 | -5.9868 | Gas |  | 2005 | Energie Electrique de Tahaddart (EET) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 2300.53
Parc Eolien Tarfaya | WRI1023709 | 301 | 35.611 | -5.432 | Wind |  | 2014 | Nareva Holding/Engie | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2015: 1083.13; 2016: 1104.94; 2017: 796.68
Central Termique de Kenitra | WRI1023676 | 300 | 34.286 | -6.5618 | Oil |  | 1979 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 596.68
Mohammedia power station | WRI1023683 | 300 | 33.682 | -7.435 | Coal | Oil | 1986 | Office National de Electricite et de Eau Potable | GCPT | https://endcoal.org/global-coal-plant-tracker/ | GEODB |  |  | 2017: 2036.17
Al wahda | WRI1023672 | 240 | 34.5983 | -5.199 | Hydro |  | 1998 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 713.55; 2014: 219.53; 2015: 221.28; 2016: 193.48; 2017: 176.67
Allal Al Fassi | WRI1023673 | 240 | 33.9307 | -4.6781 | Hydro |  | 1994 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 698.78; 2014: 154.96; 2015: 264.69; 2016: 72.22; 2017: 133.92
Parc Eolien Akhfenir | WRI1023701 | 202.11 | 27.9538 | -11.9975 | Wind |  | 2016 | Nareva Holding | Wiki Eolinne | https://eolienne.f4jr.org/parcs/akhfenir | KTH |  |  | 2017: 677.99
Centrale Solaire Noor Ouarzazate 2 | WRI1061197 | 200 | 31.0092 | -6.8622 | Solar |  | 2018 |  | National Renewable Energy Laboratory | https://www.nrel.gov/csp/solarpaces/project_detail.cfm/projectID=4292 | KTH |  |  | 2017: 239.21
Centrale Turbine a' Gaz de Tit-Me (Casablanca) | WRI1023685 | 198 | 33.541 | -7.502 | Oil |  | 1994 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 393.81
Centrale Solaire Noor Ouarzazate 1 | WRI1023680 | 160 | 31.0404 | -6.8449 | Solar |  | 2016 | Moroccan Agency for Renewable Energies (MASEN) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | KTH |  | 2016: 370 | 2017: 294.33 | Arab Union of Electricity
Centrale Solaire Noor Ouarzazate 3 | WRI1061198 | 150 | 31.0092 | -6.8622 | Solar |  | 2017 |  | National Renewable Energy Laboratory | https://www.nrel.gov/csp/solarpaces/project_detail.cfm/projectID=4293 | KTH |  |  | 2017: 179.41
Midelt | WRI1061201 | 150 | 32.6816 | -4.7922 | Wind |  | 2017 |  | Taqa Way | http://taqaway.net/re-projects/midelt-wind-farm | KTH |  |  | 2017: 449.88
Parc Eolien de Tanger | WRI1023704 | 140 | 35.6467 | -5.6078 | Wind |  | 2009 |  | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  | 2017: 526.25 | 2013: 360.71; 2014: 331.07; 2015: 478.66; 2016: 460.49; 2017: 375 | Arab Union of Electricity
Centrale Turbine a` Gaz de Tetouan | WRI1023688 | 139 | 35.5699 | -5.4633 | Oil |  | 1975 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 276.46
BINE EL OUIDANE | WRI1023675 | 135 | 32.107 | -6.464 | Hydro |  | 1955 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 374.16; 2014: 198.66; 2015: 203.02; 2016: 210.36; 2017: 161.23
ALMASSIRA | WRI1023674 | 128 | 32.4756 | -7.6374 | Hydro |  | 1980 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 341.97; 2014: 197.54; 2015: 185.93; 2016: 159.72; 2017: 168.74
Parc Eolien Khalladi | WRI1023707 | 120 | 35.7545 | -5.571 | Wind |  | 2016 | Saudi Arabian Group Acwa Power+ARIF Investment Fund | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | KTH |  |  | 2017: 386
Centrale Diesel de Tantan | WRI1023679 | 116.9 | 28.469 | -11.339 | Oil |  | 2009 | Office National de l'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2017: 232.5
A. EL HANSALI | WRI1023668 | 92 | 32.6935 | -5.8883 | Hydro |  | 2003 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 189.3; 2014: 129.57; 2015: 142.36; 2016: 111.66; 2017: 118.42
AFOURER | WRI1023669 | 92 | 32.2076 | -6.5318 | Hydro |  | 1955 | Office National de l\'Electricite (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 296.33; 2014: 186.36; 2015: 197.05; 2016: 186.87; 2017: 186.36
HASSAN 1ER | WRI1023693 | 67 | 31.846 | -7.0783 | Hydro |  | 1991 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 209.95; 2014: 138.54; 2015: 118.85; 2016: 111.82; 2017: 88.58
Parc Eolien AMOUGDOUL | WRI1023702 | 60.35 | 31.4086 | -9.7968 | Wind |  | 2007 | Office National de l\'Electricite (ONE) | Wiki Eolinne | https://eolienne.f4jr.org/parcs/essaouira_amogdoul | KTH |  |  | 2013: 204.37; 2014: 183.59; 2015: 212.08; 2016: 197.69; 2017: 175.16
Al Koudia Al Baida (Abdelkhalek Torres) | WRI1061196 | 53.9 | 35.8184 | -5.4538 | Wind |  |  | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/form.php?pid=41595 | GEODB |  |  | 2017: 161.65
Compagnie Eolienne de Detroit (CED) | WRI1023689 | 50.4 | 35.8184 | -5.4538 | Wind |  | 2000 |  | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 128.81; 2014: 100.57; 2015: 106.24; 2016: 107.47; 2017: 110.41
Parc Eolien Foum El Oued | WRI1023705 | 50 | 27.0182 | -13.3838 | Wind |  | 2013 | Nareva Holding | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | KTH |  | 2013: 202.7 | 2014: 196.47; 2015: 206.94; 2016: 164.27; 2017: 176.7 | Arab Union of Electricity
Parc Eolien Haouma | WRI1023706 | 50 | 35.8054 | -5.493 | Wind |  | 2013 | Nareva Holding | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | KTH |  | 2013: 192 | 2014: 150.53; 2015: 181.35; 2016: 175.19; 2017: 138.35 | Arab Union of Electricity
IDRISS 1er | WRI1023694 | 40.6 | 34.1616 | -4.7492 | Hydro |  | 1978 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 134.63; 2014: 74.52; 2015: 76.93; 2016: 74.34; 2017: 57.35
Oued El Makhazine | WRI1023700 | 36 | 34.9416 | -5.8398 | Hydro |  | 1979 | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/geoid/41613 | GEODB |  | 2016: 13.7 | 2013: 131.81; 2014: 41.79; 2015: 46.79; 2016: 44.56; 2017: 40.43 | Office National de l'Electricite
IMFOUT | WRI1023695 | 32 | 32.7256 | -7.9266 | Hydro |  | 1947 | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/geoid/41651 | GEODB |  | 2016: 15.8 | 2013: 88.79; 2014: 63.29; 2015: 59.54; 2016: 53.59; 2017: 58.41 | Office National de l'Electricite
Parc Eolien Lafarge Tetouan | WRI1023708 | 32 | 35.6063 | -5.4385 | Wind |  |  |  | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | KTH |  | 2017: 38 | 2017: 95.97 | Arab Union of Electricity
Dakhla IC Power Plant Western Sahara | WRI1061199 | 23.4 | 23.6816 | -15.9594 | Oil |  | 2002 |  | GEODB | http://globalenergyobservatory.org/geoid/42583 | GEODB |  |  | 2017: 46.54
MOHAMED V | WRI1023698 | 23 | 34.663 | -2.9382 | Hydro |  | 1967 | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/geoid/41614 | GEODB |  | 2016: 41.9 | 2013: 66.34; 2014: 44.3; 2015: 38.81; 2016: 32.31; 2017: 43.71 | Office National de l'Electricite
Elborj | WRI1023692 | 22 | 33.1545 | -8.115 | Hydro |  | 2010 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 62.05; 2014: 44.42; 2015: 41.84; 2016: 37.6; 2017: 40.91
Sidi Said Maachou | WRI1061194 | 20.8 | 33.1545 | -8.115 | Hydro |  |  | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/form.php?pid=41623 | GEODB |  |  | 2013: 58.55; 2014: 41.88; 2015: 39.45; 2016: 35.43; 2017: 38.57
Aïn Beni Mathar ISCC | WKS0071080 | 20 | 34.071 | -2.105 | Solar |  |  |  | Wiki-Solar | https://www.wiki-solar.org | Wiki-Solar |  |  | 2013: 38.06; 2014: 33.5; 2015: 34.44; 2016: 35.04; 2017: 37.07
DAOURAT | WRI1023690 | 17 | 32.9359 | -8.0637 | Hydro |  | 1950 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 47.49; 2014: 33.72; 2015: 31.98; 2016: 28.44; 2017: 31.68
MANSOUR ED DAHBI | WRI1023697 | 10 | 30.9125 | -6.76 | Hydro |  | 1973 | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/geoid/41650 | GEODB |  | 2016: 19.3 | 2013: 31.99; 2014: 22.99; 2015: 21.58; 2016: 20.32; 2017: 18.21 | Office National de l'Electricite
LALLA TAKERKOUST | WRI1023696 | 8.8 | 31.355 | -8.136 | Hydro |  | 1938 | Office National de l\'Electricite (ONE) | GEODB | http://globalenergyobservatory.org/geoid/41653 | GEODB |  | 2016: 8.7 | 2013: 26.73; 2014: 19.6; 2015: 17.06; 2016: 15.88; 2017: 16.2 | Office National de l'Electricite
EL KANSERA | WRI1023691 | 8.3 | 34.0417 | -5.9077 | Hydro |  | 1946 | Office National de l’Electricité (ONE) | Arab Union of Electricity | http://www.auptde.org/NewsDetails.aspx?lang=en&NID=283 | GEODB |  |  | 2013: 25.97; 2014: 14.27; 2015: 16.56; 2016: 15.47; 2017: 15.18
Ait-Baha | WKS0070981 | 3 | 30.2185 | -9.1484 | Solar |  |  |  | Wiki-Solar | https://www.wiki-solar.org | Wiki-Solar |  |  | 2013: 5.68; 2014: 5.5; 2015: 5.48; 2016: 5.6; 2017: 5.34